PREFACE

National Centre for Catalysis Research at the Indian Institute of Technology, Madras has conceived this monograph in 2009 but due to various reasons its completion has taken this long. Originally, this monograph was conceived with certain intention especially the quantitative treatment of thermal analysis of data since in most of the applications reported in literature only deal with qualitatively accounting for the various transformations taking place during thermal analysis.

It is certain that this objective may not be completely fulfilled since the practicing scientists are only interested in identifying the phases formed and mostly do not bother about the quantitative aspects of the same as both time and temperature are varied simultaneously. The so-called ‘kinetic triplet’ are considered to contain vital information of the process. To obtain these three parameters the thermal traces are amenable and hence this process needs to be pursued.

Even though lot more can be covered in this monograph, this is presented as a self- reading material and hence it should be short and also keep in mind all those who did not have any formal introduction to thermal methods of analysis.

CHAPTER 1

INTRODUCTION

Thermal Analysis methods and Catalysis

Thermal analysis refers to the variety of techniques developed and used in which any physical property of a substance is continuously measured as a function of temperature ( thought temperature and time may be related by the term called heating rate dT/dt), the temperature profile can be a prefixed schedule like temperature programming or temperature jump or flash methods. Thermal analysis techniques are used in virtually every area of modern science and technology. The basic information that the variety of techniques can provide includes crystallinity, specific heat, expansion and information on a variety of physical and chemical transformations that can take place on the sample under inspection.

Catalysts by nature are inorganic / organic solids. In the process of application, they undergo physical as well as chemical transformations at every stage, like, preparation, evolution of the active phases, reaction, ageing, deactivation and regeneration. The wealth of information that could be generated throughout the life cycle of the catalyst (from the Cradle to the Coffin) by application of appropriate analytical techniques is listed in Table I.1.

Table.1 Type of information that can be generated with respect to a catalyst

| Preparation stage | Characterization of the catalyst | Evaluation stage | Ageing of the catalyst | Spent catalyst |
| --- | --- | --- | --- | --- |
| Determination of the concentration of the active elements | Phase composition of the catalyst prepared | In situ evaluation of the catalyst | Solid state transformations that occur in the catalyst | Inactive phases |
| Species that can be present in the solution phase while preparing the catalyst | Electronic properties of the catalyst | Transient surface species that would be generated | Structural transformations that occur during ageing. | Poisons present on the catalyst surface |
| Solid state transformations that will occur in the preparation step | Structural details of the catalyst | Identification and estimation of the reactant and product concentrations | The changes in the surface composition of the ageing catalyst | Analysis of the coke species formed |
| Types of preparation techniques employed | Dispersion and distribution of the active phase; Surface composition of the catalyst | Kinetics and mechanism of the reaction that takes place |  |  |

Amongst various analytical techniques, Thermal analysis methods occupy a unique place, capable of rendering useful information on catalysts at every stage. The study of solids employed as catalysts has been centred on examining the surface and bulk transformations that take place as a result of input of various forms of activation. Even though a variety of activation procedures known, thermal activation has always been the most adopted method due to reasons like easy adoptability, facile amenability for analysis and examination under controlled conditions (both atmosphere and temperature

Thermal energy as input

Analysis of

Ejected species

System itself

Catalyst

The analysis of ejected/ evolved neutral species has been the predominant method in thermal analysis though ejected electrons (thermionic emission) and other species can also be analyzed. Thermal analysis generally denotes the group of methods by which the physical or chemical properties of a substance, a mixture and/or a reactant are measured as a function of temperature or time (T = T0  + βt) whilst the sample is subjected to a controlled temperature program. The program may involve heating or cooling (dynamic), or holding the temperature constant (isothermal), or any sequence of these.

New techniques based on Temperature Programming

The possibility of temperature ramp has been exploited in the field of catalysis for a number of years. Originally, this method was adopted in the name of flash desorption [1] to study the adsorption of gases on metallic wires and filaments. The introduction of temperature programming has led to the development of a number of new techniques which are usually denoted as Temperature Programmed techniques, TPX (where X can take alphabets like D for desorption, R for reduction, O for oxidation, S for Sulphidation, RS for reaction study and so on). Emergence of hyphenated techniques like TPD-MS, TG-IR and TEOM (Tapered Element Oscillating Microbalance) have further sharpened the application potential of thermal analysis methods This does not mean that the conventional thermal methods like Thermo-gravimetry (TG and its differential mode DTG), Differential Thermal Analysis (DTA), Differential Scanning Calorimetry (DSC) Thermo Mechanical Analysis (TMA) have not been exploited in the study of catalysts and the phenomenon of catalysis. They have been extensively employed and these aspects will also be considered in this monograph. The list of such conventional techniques has been given in Table I.2 and the representation as a flow chart is shown in Fig.1.2.

Table I.2. Conventional thermo-analytical Techniques

| Technique | Abbreviation | Physical Property measured |
| --- | --- | --- |
| Thermogravimetry | TG and DTG | Weight/change in weight of the sample |
| Differential Thermal Analysis | DTA | Difference in temperature between the sample and a thermally inert reference material both heated identically |
| Differential Scanning Calorimetry | DSC | Rate of change of enthalpy |
| Evolved Gs Analysis | EGA | Nature of gases evolved |
| Thermodilatormetry |  | Change in the dimension of the sample under zero load |
| Thermo Mechanical Analysis |  | Change in Visco-elastic properties under non-oscillatory load |
| Dynamic Mechanical Analysis | DMA | Change in Visco-elastic properties under oscillatory load |
| Thermooptometry |  | Change in optical property |
| Thermomagnetometry |  | Change in magnetic property |
| Thermoelectrometry |  | Change in electrical property |
| Thermoacoustimetry |  | Change in acoustic property |
| Differtial microcalorimetry | DMC | Enthalpy difference between sample and reference |

Impact of Thermal analysis on Catalysis research

The justification for a separate monograph on thermal methods in catalysis is necessitated by the fact that the number of publications in this area is always on the increase and more and more applications are brought to focus. A simple search for thermal methods in catalysis turned out 69186 entries (as on 23rd June 2009) with 61222 journal references, 7365 book and 599 reference entries. A simple approach would be to see how year wise this topic has been covered by publications. In Table 1.3. the typical necessary data are assembled. Table 1.3.

The number of entries on the topic thermal methods in catalysis year wise

| S.No | Year | Number of entries |
| --- | --- | --- |
| 1 2 3 4 5 | 2005 2006 2007 2008 2009(part) | 3972 4195 5033 5221 4265 |

A variety of sources cover the original research in this area and a sample of the journals which has published more than 500 research articles are shown in Table 1.4. This compilation is only to give an idea of the coverage of resources available for this field.

Fig.1.1. Thermal Analysis refers to a number of methods that measure change in any property of a system with respect to temperature when it is subjected to a controlled temperature variation.  The measured parameters can be mass, temperature, or heat flow or other properties like dimensions or optical or magnetic property.

Table 1.4. Journals that cover most of the articles under the title thermal methods in catalysis

| Journal | Number of articles |
| --- | --- |
| Applied Catalysis A: General Studies in Surface Science and Catalysis Journal of Catalysis Surface Science Journal of Molecular Catalysis A: Chemical Applied Catalysis B: Environmental Journal of Organometallic Chemistry Microporous and Mesoporous Materials Chemical Engineering Science Tetrahedron Journal of Molecular Biology Applied Catalysis Inorganica Chimica Acta Catalysis Communications Carbon Polyhedron Themochimica Acta Journal of Molecular Catalysis Applied Surface Science | 3577 3503 3435 2417 1937 1586 1445 1228 1038 976 878 853 808 712 693 645 641 624 587 |

It may be argued that thermo-analytical methods cannot compete with other analytical techniques like electro-analytical or spectral analysis in terms of power, accuracy and time, but still many laboratories are employing thermo-analytical methods for a variety of analytical situations. It is argued that nearly 35% of the analytical research laboratories still use thermo-analytical techniques.

Secondly the possibility of temperature programming has led to some remarkable developments in the kinetic study of the processes. However, these studies have been exploited extensively to derive essentially the two important kinetic parameters namely the activation energy and Arrhenius factor. The evaluated values obtained for these two parameters have to be carefully analyzed since in most cases the abnormal values have been reported.

It is appropriate to quote Flynn at this stage. He said “ the unfortunate fact is that, since in thermal analysis, properties of the system are measured as a function of (both) time and temperature, all thermo-analytical results are potentially kinetic data, and many people ill grounded on kinetics ( like the present author) feel obliged to perform a kinetic analysis of them”

As stated above the evaluation of the kinetic triplet namely, Activation energy, Preexponential factor and g(α) or f (α) are obtainable by temperature programming methods. However, Kinetic data derived from thermal methods are always considered with some skepticism – why is this so? The values obtained for the kinetic triplets do not have much physical meaning but can help in predicting the rate of the processes for conditions when the collection of experimental data is impossible. The kinetic parameters do not have a physical meaning and can be used to help in elucidating the solid-state reaction mechanisms. But in reality, the truth is in between these two extremes.

It should be remarked that ambiguity inescapably accompanies interpretation of kinetic data obtained in thermal methods. These may arise because of the short comings from computation methods or experimental shortcomings. Experiments are often done either isothermal or under iso-conversions or under suitable heating rates, all these are unable to provide the details of all that take place under thermal methods. The reactions do not follow normally simple stoichiometry like dehydration decomposition – a single set of kinetic triplet can at best describe a simple reaction at the most or if the mechanism is independent of temperature and the progress of the reaction.    Finally, non-isothermal kinetics is not obliged to give the same results as isothermal kinetics. There is enough support for both for and against.

In this monograph an attempt has been made to address these questions which have been haunting the scientific community for long time on the use of thermo-analytical methods. It is realized that one may not be able to offer solutions for all of them at least one can make an attempt to understand them and also to delineate them for evolving possible solutions in future.

On the whole, various thermal methods can be employed for studying various properties of catalytic systems. These can be summarized as follows:

1. Determination of thermal constants like Heat of fusion, specific heat, freezing point and melting point. The MP of pure metals (Au, Pb, Sn etc) is often used for calibration of DTA/DSC. The area under a melting endotherm is proportional to the latent heat of fusion of the sample.

2. Phase changes and phase equilibria Solid to liquid phase change or liquid to gaseous state, or phase changes in solids

3. Structural changes Solid-solid transitions where a change in crystal structure occurs.

4. Thermal stability One can monitor the thermal stability of an oxide, particularly stability of a porous material.

5. Thermal decompositions ™ Decomposition of a polymer.

- Decomposition of template or an occluded material from a zeolite.

- Thermal decomposition of copper sulphate (CuSO45H2O) and other salts used for the formation of active catalysts. For example, the decomposition of copper sulphate can be represented by the following equations

CuSO4.5H2O ⇒ CuSO4.3H2O + 2H2O

CuSO4.3H2O ⇒ CuSO4.H2O + 2H2O

CuSO4.H2O ⇒ CuSO4 + H2O

6. Characterization of materials. (for example)

- Determination of glass transition temperature.

- Analysis of Portland cement versus high alumina cement.

7. Extent of adsorption, desorption, reaction, reduction, oxidation coking/decoking, sulphidation and many other processes involved in the preparation of catalysts and also their use in catalytic reactions. The listing given is not exhaustive and the application often depends on the innovation of the investigator. On the whole thermal methods have assumed an importance place in the characterization of catalysts. The presentation in this monograph is restricted to demonstrate the use of various thermal analysis methods in the elucidation of catalytic systems only.

Brief History of Thermal Analysis

It is appropriate to trace the history of thermal methods.   It has been recognized from the time of Aristotle (384-322 B.C.) that fire is considered as the analyzer of matter. However, Robert Boyle (1626-1691) denied that fire is the analyzer of matter as it is generally destructive.  Nearly a century later Joseph Black distinguished temperature (quality of heat) and heat (quantity of heat).  The modern thermal analysis has its origin in the analysis of clay minerals. Antoine Laurent de Lavoisier was the first to carry out this analysis and he stated the changes in mass upon oxidation. This was named afterwards as Montmorillonite by Cronstedt in 1788.Subsequently, Le Chatelier made studies on clays.   This was followed by the discovery of thermocouple (Pr-PtRh10) and also the statement of Phase rule by Willard Gibbs (1839-1903).   This initiation led to introduction of a number of other thermal techniques in the 20th century.

1.Michael Feist, Thermal analysis: basis, applications and benefit, Chemtexts, 1:8 (2015) DOI:10.1007/s40828-015-0008-y

CHAPTER II

THERMOGRAVIMETRIC ANALYSIS IN CATALYSIS

This is the simplest of the thermal analysis wherein one measures the weight changes that occur as a result of programmed heating of the substance. The result is usually represented as percentage weight loss or gain (note not the absolute weight) as function of temperature. It is also possible to depict the results in differential form (also called DTG) since it is known that in the differential form the signals are more prominent and also useful quantitative extraction of the data is possible.

- Buoyancy effect of sample container:

It denotes the apparent gain in weight when an empty, thermally inert crucible is heated. It has three components namely,

- decreased buoyancy of atmosphere around the sample at higher temperatures;

- the increased convection effect; and

- the possible effect of heat from the furnace on the balance itself.

Modern instruments take care of these factors. A blank run with an empty crucible is always preferable. The buoyancy effect stems from the famous Archimedes principle namely, any object, when wholly or partially immersed in a fluid, is buoyed up by a force equal to the weight of the fluid displaced by the object. In the case of temperature, it is connected to the density of the gaseous atmosphere varying with temperature. For example, the air decreases with increasing temperature as follows: 298 K - 1.29 mg/ml; 498 K - 0.62 mg/ml; 698 K - 0.41 mg/ml. The effect of buoyancy on measurement of weight is illustrated.

The effect of buoyance can be illustrated by a simple example. The density of air at 298 K is 1.3 mg/cm3,, while the density of air at 1273 K is 0.3 mg/cm3 . Consider for a sample of 20 mg with density 1g/cm3, the magnitude of the air buoyancy correction (MABC) will work out to be of the order of 0.1% if one makes use of any of the following equations.

MABC = (ρa – ρn) (Vx – Vs) or                                           (Eq. 1)

MABC = m0 (ρa – ρn ) [ (1/ρx) – (1/ρs)]                             Eq.2)

where the symbols are defined in Table 2.1.

Table 2. 1. Variables for MABC equations

| Variable | Description of the Variable |
| --- | --- |
| ρa | Air density at the time of measurement in mg/cm3 |
| Ρ | Density of normal air i.e. 1.2 mg/cm3 |
| mo | Nominal mass in grams |
| Vx | Volume of the unknown weight x in cm3 |
| Vs | Volume of the reference standard S in cm3 |
| ρs | Density of the reference standard S in g/cm3 |
| ρx | Denisty of the unknown weight X in g cm3 |

[For more details on this correction factor refer to http://ts.nist.gov/WeightsAndMeasures/upload/Sop_2_Mar_2003.doc]

Typical thermo gravimetric traces (plots of mass versus temperature) are given inFig.2.1. and the trace obtained for Calcium oxalate is shown in Fig2I.2.

Fig.2.1. TG curve shown in red (dotted line) and DTG representation given by continuous line in the figure

Fig.2.2. Thermogravimetric trace for the decomposition of calcium oxalate (one can notice that the trace provides information on the steps and also the species involved in the decomposition process).

In general, a range of materials can be studied by thermo-gravimetry that include, biological materials, building materials, Catalytic materials and glasses and ceramic materials. The information that can be obtained from simple thermo gravimetric traces are composition, moisture content, solvent content, additives, polymer content, filler content, dehydration, decarboxylation, oxidation, reduction, decomposition and in short where-ever there is a weight change in the material. Conventionally, therefore phase change which will also occur as a function of temperature cannot be studied by thermogravimetry.

It can be seen that a typical thermo balance consists of a high precision balance, a furnace for achieving high temperatures, e.g, 1800K, a temperature programmer, data acquisition system and auxiliary equipment to provide inert atmosphere.

Requirements of a normal TG balance are:

1. A thermo balance should provide accurate weight of the sample as a function of temperature. (capacity up to 1g, typical sample in mg). Its reproducibility should be very high and also should be highly sensitive.

2. It should operate over a wide temperature range, say from 298 K to 1000/1500 K

3. The design of thermo balance should be such that sample container is always located within a uniform hot zone inside the furnace.

4. The sample container should be such that it does not react with the sample at any given temperature

5. The balance should not be subject to radiation or convection effects arising from the proximity of the furnace.

6. It will be advantageous if thermo balance can be coupled to a GC or IR or to QMS for catalytic studies.

The determination of kinetic parameters from thermal analysis has some limitations as mentioned before. In order to overcome these limitations various methods of analysis of data have been resorted to. Among the various methods that have been adopted, the methods based on iso-conversion have been advocated in recent times by Starink [1]. He has classified the available methods and also the methods developed by him as Type A and Type B methods.

Type A method or Friedman type method

This method essentially concerns the determination of the rate at the stages of iso-conversion. Since it depends on the determination of a parameter, it does not require any mathematical approximation. In this method one must determine the rate of the reaction at Ti(β) (where T refers to the temperature subscript ‘i ‘denotes iso-conversion levels and β refers to the heating rate). Hence one has to determine the rate at iso-conversion levels at different heating rates. In addition, one should also note the temperature where the rate is measured for the iso-conversion levels. Accordingly based on Arrhenius type expression the equation of relevance is

ln (dα/dt) = (-E/RTf) –ln f(α)

Thus, if a range of linear heating rate experiments at different heating rates β, are done then times at which a fixed stage of the reaction is achieved can be noted for each linear heating rate experiment and hence f(α) will be a constant. Thus by measuring the temperature, Tf, and the transformation rate dα/dt at that fixed conversion can be plotted according to the above equation.  The slope of a plot of ln (dα/dt) versus 1/Tf can be used to calculate the value of the activation energy. Since, time and temperature are related functions and measuring heating rate is easier the expression can be rewritten

ln [(dα/dT)β] = (-E/RTf) –ln f(α)

This method thus becomes model free method. Though this A method does not involve any mathematical approximations, it introduces some measurement uncertainties as the measurement of rate of conversion, the estimation of dα/dT is sensitive to determination of the baseline and thus depends how best the thermal analysis equipment is calibrated.

Type B: Iso-conversion method

This method is called the generalized Kissinger method and is one of the best known iso-conversion methods. The transformation rate can generally be expressed as a product of two functions namely, one depending on temperature and the other depending on the fraction transformed as follows;

Type equation here. (dα/dt) = f(α) k(T) ….1

The temperature dependent function can be replaced by Arrhenius type of expression

(k) = (k0) exp – (E/RT) …2

If the combined expression is integrated by separation of variables one gets

∫0 α (dα/f(α) = (koβ) ∫ exp (-E/RT)dT = (k0E/βR) ∫ Exp(-y)/y2dy    (3)

Where y = E/RT. Yf E/RTf ,  Tf is the temperature at an equivalent state of transformation. Β is the heating rate

The integral in equation above is termed as the temperature integral or Arrhenius integral p(y)

Integrating by parts and assuming Yf >>1 one gets

(P(y) ≈ exp(-y/y2)

Taking logarithm for expression 3 and inserting p(y) one obtains

(ln∫dα/f(α) = ln(k0E/βR)  + ln 1/βYf 2 -yf

At constant fraction transformed this leads to

(ln (β/T2f)   = - (E/RTf)  + C

Plot of  (ln (β/T2f)   versus 1/Tf  should yield the value of E/R. This method is usually called the Kissinger-Akahira-Sunrose (KAS) method though a similar method was developed by Vyazovkin and his coworkers.

A similar expression is also available for treating the thermal desorption traces to evaluate the value of activation energy and frequency factor and this will be taken up subsequently.

At this stage, it is necessary that one comments on the methods that have been evolved and this has been attempted in Table 2.1

| Designation of the method | Procedure adopted | Best known methods |
| --- | --- | --- |
| Iso conversion method Iso conversion method Maximum Rate method Iterative method | Plot of ln(dα/dt versus 1/Tf Plot of (Tf/β) versus 1/RTf Plot of (Tf/β) versus 1/RTf The above followed by iterative method | Friedman, Gupta et al Generalised Kissinger Kissinger Ozawa, Starink and Lyon methds |

It is possible to evaluate the kinetics of process taking place in thermogravimetric analysis.one of the methods is given here. For all other methods one has to look into the literature.

Thermogravimetric traces (plot of weight change a function of temperature at constant heating rate) are amenable for analysis and evaluation of certain key kinetic parameters.    This will be briefly considered in this section.

For a given irreversible reaction, the rate of disappearance of the substrate can be expressed as

(dα/dt )   = kn(1-α)n

Where α is the fraction of the substrate consumed at time t and n is the order of the reaction.   The conventional Arrhenius equation can be written as

kn = (kn) ꝏ exp (-E/RT)     (2)

If the considered heatin rate is a linear function of time then

Θ = dT/dt                       (3)

Combining these two equations ( 2 and 3) one can write

dα  = kn(1-α)n dt        (4)

= (kn)ꝏ  exp(-E/RT) x (1-α)n x (dT/θ)      (5)

dα/(1-α)n  = (kn) ꝏ exp(-e/RT) X (1/θ)X dT        (6)

integrating the equation between the limits 0 to ꝏ and 0 to T for temperature

[[1-(1-α)1-n]/(1-n)  ]   = [[(kn)ꝏ RT2]/θE] [1-2θT/E] exp (-E/RT)       (7)

log   [[1-(1-α)1-n]/(1-n) T2 ]  =  log  [[(kn)ꝏ R]/θE] [1-2θT/E] – E/2.303RT   (8)

Eqation 8 holds for all values of n except when n=1

When n takes the value 1 after taking logarithms of the integrated form of equation 6 one gets

Log [-log(1-α)/T2]  = [log(kn)ꝏR/θE] {1-(2RT)/E] – E/2.303RT	(9)

For typical values of E and the temperature range over which this type of analysis is usually carried out the first term in the right-hand side is almost constant. Therefore, a plot of left- hand of equation 9 or 8 versus 1/T can be expected to be a straight line for a chosen value of n.  The slope of this line will give the value of the activation energy E.  This analysis gives values of n and also the value of activation energy. This procedure was originally proposed by Coats and Redfern.

1.H.L.Friedman, J.Polym.Sci., 6,183 (1964).

2.A.K.Gupta, A.K.Jena and M.C.Chaturvedi, Scr.Metall., 22,369(1988).

3.T.Akahira, and T Sunrose, Trans of Joint convention, p.249 (1969).

4.H.E.Kissinger, J.Res.Nat.Bur.Stand., 57,217(1956); Anal. Chem.,29,1702(1957)

5.J.H.Flynn, J.Thermal Anal., 27,95(1983)

6.M.J.Starink, Thermochimica Acta, 288,97 (1996)

7.R.E.Lyon, Thermochimica Acta, 297,117 (1997).

It is appropriate to close this section on the kinetic analysis of iso-conversion method by quoting the statements of Starink. He states that the need for further work on activation energy analysis of the iso-conversion method has very much reduced. Any new procedure must be capable of demonstrating on more accuracy on the derived parameters.

References

[1]M.J.Starink, Thermochim Acta, 404, 163 (2003); http://eprints.soton.ac.uk/18822/; Journal of Material Science, 42, 483 (2007).

[2].H.L.Friedman, J.Poly Sci., C 6, 183 (1964)

[3]A.K.Gupta, A.K.Jena and M.C.Chaturvedi, Scr.Metall., 22,369 (1988)

[4] 4.H.E.Kissinger, J.Res.Nat.Bur.Stand., 57,217(1956); Anal. Chem.,29,1702(1957)

[5].J.H.Flynn, J.Thermal Anal., 27,95(1983)

[6] T.Akahira, T.Sunrose, Transactions of Joint Convention of four electrical institutions, 1969, p. 246. [7] E.J.Mittemeijer, J.Mater.Sci., 27,3977 (1992).

[8] S.Vyazovkin, and V.V.Goriyachko, Thermochim Acta, 194,221 (1992).

[9] S.Vyazovkin, A.I.Lesnikovich, Russ.J.Phys.Chem., 62,2949 (1988).

CHAPTER III

APPROPRIATENESS OF ARRHENIUS EQUATION FOR KINETIC ANALYSIS OF SOLID-STATE REACTIONS

It is necessary that at this stage, one considers the appropriateness of employing Arrhenius type of expressions for the evaluation of the activation energy of reactions studied by thermal methods. Hence this aspect has been considered in this chapter. This question it must be stated, has been persistently posed before also a number of times in the literature. The kinetic parameters for solid state reactions (decomposition, phase change or compound formation) have been conventionally evaluated by treatment of isothermal or non-isothermal data of fraction reacted (α) as function of time in the case of isothermal studies and (α) as a function of temperature employing the conventional Arrhenius equation in the form, k = A exp (–Ea /RT). The applicability of Arrhenius equation for homogeneous molecular level reactions is well known and has been established beyond doubt since these systems obeys the Maxwell – Boltzmann distribution. However alternate functions like relating ln k with T or ln k with ln T in addition to ln k versus 1/T have also been proposed, but these relations have been considered as ‘theoretically sterile’ since the constants of these proposed equations do not lead to any deeper understanding of the steps of the chemical reaction [1]. Galwey and Brown [2] have raised this aspect in one of their innumerous publications in this area and provided a number of arguments justifying the use of Arrhenius equation to treat the kinetics of solid-state reactions. The main argument provided by them concerns that solid state reactions are mostly promoted by interface sites and their energy levels. These energy states though normally obey for Fermi-Dirac statistics for electrons and Bose Einstein statistics for phonons, both these statistical functions can approximate to the conventional exponential function (Maxwell-Boltzmann distribution (MB)). Since obedience to Maxwell Boltzmann statistics is the key for the application of Arrhenius equation, they justified the use of Arrhenius equation for treatment of solid-state reaction kinetics implying the other two statistics can approximate to MB statistics. The kinetics of solid-state reactions is conventionally treated with a different model as compared to the reactions taking place in homogeneous solutions [3]. The reaction is considered to initiate and propagate at the interface of the solids and various types of kinetic expressions have been employed to represent the dimensionality and the progress of the reaction at the interface. These models are based on the consecutive steps of nucleus formation and its growth in one, two or three dimensions. A brief summary of the various kinetic expressions normally employed to treat the isothermal kinetics of solid- state reactions is given in Table.1. These model kinetic expressions can be analyzed in terms of classifications like models based on nucleation, geometrical contraction or expansion, deceleratory or acceleratory or sigmoid type of kinetic curves, models based on diffusion and models based on reaction orders. Many of these models are unique to treatment of solid-state reactions. Similarly, non-isothermal data have also been analyzed based on various models. Typical expressions employed for treating kinetic data of non-isothermal measurements assembled in Table.2. Most of these expressions given in Table.2 have been derived on some specific models as conceived by the respect authors. It is not clear, which of these expressions is more suitable to treat the non-isothermal data for an unknown system and in the absence of such a guideline, it has been customary to apply more than one of these expressions for the same set of experimental data on non-isothermal kinetics and then compare the values of derived parameters like activation energy Ea and the pre-exponential factor (A) of the Arrhenius equation. These values are Table.2. Typical models for the treatment of non-isothermal data (only typical ones are given and for other models the readers are referred to the original literature [6-17]). analyzed for consistency or to interpret the mechanism of the solid-state reaction. However, this situation has led to many unclear situations, since the derived parameters of Ea and A from various models are not mostly consistent and hence the interpretation has to resort to some selection which could not be unbiased. Secondly, since not all the models are employed for treating a set of non-isothermal kinetic data, the selection and supposed applicability of a chosen model appears to be arbitrary. Whenever inconsistency is found in the values of the parameters of Ea and A, the analysis is most often silent or only looks at them as though the models are different, even then the suitability of one model over the other is not considered. In order to substantiate our contention that the parameters of Ea and A have not been consistent, a chosen set of data collected from literature are given in Table.3. The data given in Table.3 should be taken as representative ones available in literature. No attempt has been made to collect the data extensively. Galwey [27] has observed that the value of pre-exponential factor for nearly 50% (this estimate appears to be arbitrary) of solid-state decompositions lie in the range of 108 – 1014 S-1. In reality for most of the solid- state reactions, the values of the preexponential factor vary widely and the spread is certainly too large and mostly differ from the standard value of 13 S -1 based on Polyani-Wigner model. One can rise several questions based on the magnitude of the values of Ea and A reported in literature for the kinetics of solid-state reactions. It is not our intention to list all these questions but only to indicate a few of them. (i) What is the significance of values of A higher than 1013 S -1? (ii) What interpretation can be offered when the observed values of A are far less than 1013S-1? Table 3. Values of Ea and A deduced for some typical solid state reactions (includes examples of decomposition, dehydration, solid state inorganic and organic reactions and analyzed for consistency or to interpret the mechanism of the solid state reaction. However, this situation has led to many unclear situations, since the derived parameters of Ea and A from various models are not mostly consistent and hence the interpretation has to resort to some selection which could not be unbiased. Secondly, since not all the models are employed for treating a set of non-isothermal kinetic data, the selection and supposed applicability of a chosen model appears to be arbitrary. Whenever inconsistency is found in the values of the parameters of Ea and A, the analyses are most often silent or only looks at them as though the models are different, even then the suitability of one model over the other is not considered. In order to substantiate our contention that the parameters of Ea and A have not been consistent, a chosen set of data collected from literature are given in Table.3. The data given in Table. 3 should be taken as representative ones available in literature. No attempt has been made to collect the data extensively. Galwey [27] has observed that the value of pre-exponential factor for nearly 50% (this estimate appears to be arbitrary) of solid-state decompositions lie in the range of 108 – 1014S -1. In reality for most of the solid-state reactions, the values of the preexponential factor vary widely and the spread is certainly too large and mostly differ from the standard value of 1013S-1 based on Polyani-Wigner model. One can rise several questions based on the magnitude of the values of Ea and A reported in literature for the kinetics of solid state reactions. It is not our intention to list all these questions but only to indicate a few of them. (i) What is the significance of values of A higher than 1013s-1? (ii) What interpretation can be offered when the observed values of A is far less than 1013S-1? Table.3. values of Ea and A deduced for some typical solid-state reactions (includes examples of decomposition, dehydration, solid state inorganic and organic reactions and

- If softening and melting were to precede the solid-state reaction, then one can visualize the reaction sequence as in homogeneous medium. (iv) The variation of E with α the extent of reaction, (smooth or abrupt) denotes the nature of consecutive steps involved in solid state reactions. (v) If the solid-state reaction proceeds by the development and growth of a reaction interface, then the local strain, imperfections, the crystalline phases of the reactants and products all will contribute to the acceleration or deceleration of reaction rates as well as for the change of Ea with α. It is not yet clear how the various forms of the intervening phase, like a molten product, a defect crystalline phase or reorganizations in reactant (like removal of water) could provide a chemical environment where the conventional Polanyi-Wigner treatment will be as much applicable as in homogeneous phase. (vi) In terms of energy transfer, the species in the interracial zone is more ordered in homogeneous liquid medium, but less ordered as compared to the fully crystalline phase. The in-between crystalline phases (interface region) may provide additional allowed energy levels in the forbidden regions of energy bands in the solid. The electronic energy levels though normally follow Fermi-Dirac statistics, can approximate to Maxwell Boltzmann distribution under the temperature conditions employed for the solid-state reaction. If this situation prevails then one can justify the use of Arrhenius equation for evaluating Ea and pre-exponential factor. (vii) If on the other hand phonons are the mode of activation, then one can expect the Bose-Einstein statistics will approximate to Maxwell- Boltzmann distribution for the conditions prevailing under reaction conditions and hence the use of Arrhenius equation can still be justified. Though the summary of the arguments given justify the use of Arrhenius type of relationship to evaluate the kinetic parameters (Ea and ln A) it has not provided any explanation for the variation of Ea and ln A. These variations are considered in terms of compensation between Ea and ln A, or by the variation of one ( Ea or ln A) while the other remains constant. The linear relationship between Ea and ln A is termed as compensation effect in the literature. The observance of this effect is usually identified by the inherent ‘heterogeneity’ of the surface and hence the changes in reactivity of these sites. However, a simple linear variation between Ea and ln A for sites of varying reactivity is not expected unless one has to invoke additional internal reorganizations which can give rise to smooth variation in both Ea and ln A. It must be remarked that these solid-state reactions were to involve an intermediate vapourization and condensation steps, then it is probable that one can still invoke Arrhenius type of equation for evaluating Ea and ln A. However not all solid-state reactions do proceed by evaporation of reactant and condensation of the product. It is appropriate to quote Flynn at this stage. He said “ the unfortunate fact is that, since in thermal analysis, properties of the system are measured as a function of (both) time and temperature, all thermo-analytical results are potentially kinetic data, and many people ill grounded on kinetics (like the present author) feel obliged to perform a kinetic analysis of them” [30] Even if one were to admit inexperience in treating kinetic data from thermal analysis, the physical significance of the kinetic parameters derived from the analysis is not clear yet. Secondly, it is yet to resolved, why the same experimental data can be fitted to various models simultaneously? Do they reflect on the closeness of the models, or the inadequacy of the treatment of data based on the models chosen. The widely practiced method of extracting Arrhenius parameters from thermal analysis experiments involves ‘force fitting’ of experimental data to simple reaction order kinetic models [31]. The ‘force fit’ may not be suitable for the analysis of data of thermal analysis, outside the applicable range of variables and hence can be of limited utility for drawing mechanistic details of the reaction. It should be remarked that the concept of kinetic order of the reaction has to assume a new significance in the case of solid-state reactions. Even for simple decomposition reactions, the available models cannot appropriately take into account like sintering before decomposition, simultaneous existence of polymorphic transition. It should be recognized that the models so far proposed, are oversimplified and envisages one nucleation site per particle. There can be multiple and different types of nucleation simultaneously and their growth may be a complex function which cannot be treated in terms of simple geometrical considerations. The direct observation of the texture and morphology of the substances have to be coupled with the kinetic fit of the data for developing a model and draw meaningful deductions regarding nucleation and growth. The values of the activation energy for solid state reactions can be rationalized only in some simple restricted conditions. For example, for two systems if g(α) and A were to be equal then, the magnitude of Ea can be used to postulate on the reaction kinetics. However, even in these cases, if Ea were to vary with α , the fraction of the reaction, then it denotes changes in reactivity as a result of extent of reaction and the complex nature of the reaction. There is overwhelming tendency to compare Ea values obtained for isothermal and non-isothermal experimental conditions. Even though time and temperature are mathematically related by the heating rate (β = dT/dt), it is not clear how the species of the system will respond to the bimodal variation. Whether the changes observed will be an arithmetic sum or product of the variations observed with each of these variables. It appears that it is neither of these two mathematical functions. In conclusion, one can state that if carefully used and complemented with other techniques, the analysis of solid-state kinetics can provide indications on the reaction mechanism and may yield information on reactivity which can be exploited for synthetic strategies.

References:

[1] Laidler, K.J., J. Chem.Edn., 61, 494(1984).

[2] Galwey, A.K. and .Brown,M.E., Proc.R.Soc., London, A450, 501 (1995).

[3] A K Galwey and M E Brown, Kinetic background to Thermal Analysis and Calorimetry" in Hand book of thermal analysis and calorimetry, Vol.1, Principles and Practice, Ed. M E Brown, Elsevier, Amsterdam, 1998, pp 691.

[4] Jaana Kanervo, Kinetic analysis of temperature programmed reactions, Industrial Chemistry Publication series, Helsinki University of Technology, (2003).

[5]MalteBehrens, http://w3.rz-berlin.mpg.de/~jentoft/behrens_solid_skinetics_ 161107.pdf

[6]  Ozawa,T., Bull.Chem.Soc.Jpn., 38 1881 (1965).

[7 ] Oxawa, T., J Thermal Anal., 2, 301 (1970).

[8] Coats, A.W., and Redfern J.P., Nature, 201,68 (1964)

[9] Johnson D. W., and Gallagher, P.K., J.Phys.Chem., 76,1474 (1972).

[10] Freeman E.S., and B.Carrol, B., J.Phys.Chem., 62,394(1958).

[11] Friedman, J.Polym.Sci., C6,183 (1965).

[12] Flynn, J.H., in Schwenker, Jr., R.F., and Garn P.D., (Eds) Thermal Analysis Proceedings of ICTA2, Worcester 91968) Academic Press, 1969 pp.1111-1126.

[13] Zasko, J., Thermochimica Acta, 2, 145 (1970).

[14] Carr, N.J., and Galwey, A.K., Thermochim.Acta, 79,323 (1984).

[15] Sestak, J., Thermochim.Acta,83,391 (1985).

[16] Sestak, J., and Sestakova, Thermochim.Acta, 203, 1-526 (1992) { all articles in this issue}. [17] Report of the ICTAC committee, in Thermochim.Acta, 256, 477 (1995).

18] http://scholar.lib.vt.edu/theses/available/etd-05142001-092334/unrestricted/ chapter3.pdf

[19] ÖMER Şahin, Bulutcu, A.N., Turk.J.Chem., 27, 197 (2003).

[20] Patankar, S.N., and Froes, F.H.,http://www.webs1.uidaho.edu/imap/ new_page_2.htm [21] Galwey A.K., Sheen, D.B., and Sherwood J.N., Thermochim. Acta, 375, 161 (2001

[22] Hangloo, V., Bamzal,K.K., Kotru,P.N., and Koul, M.L., Bull Mat Sci., 27, 295 (2004).

[23] Sheridan, A.K., and Anwar, J., Chem.Materials 8, 1049 (1996).

[24] Jain, A.K., Sharma, S.K., and Daljit Singh, IEEE, 2274.

[25] Wang,Y., and Zerda, T.W., J.Phys Condens. Matter, 18, 2995 (2006)

[26] Palanisamy, T., Gopalakrishnan, J., Viswamathan, B., Srinivasan, V., Sastri, M.V.C., Thermochimica Acta, 2, 265, (1971).

[27] Galwey, A.K., Thermochim.Acta, 242, 259 (1994). 12

[28] A K Galwey and M E Brown, Kinetic background to Thermal Analysis and Calorimetry" in Handbook of thermal analysis and calorimety, Vol.1, Principles and Practice, Ed. M E Brown, Elsevier, Amsterdam, 1998, pp.691.

[29] Galwey, A.K., Brown, M. E., Application of the Arrhenius equation to solid state kinetics: can this be justified? Thermochimica Acta, 2002. 386: p. 91-98.

[30] Maciejewski,M., J.Thermal.Anal., 33,1269 (1988).

[31] Vyazovkin, S and Wight, C.A., Annual Review of Physical Chemistry, 48, 125(1997).

Chapter IV

Temperature Programmed Desorption (TPD)

A pre-adsorbed species is removed from the surface of a catalyst surface by rapid heating(~1-100K/s) in a well pumped ultra-high vacuum (UHV) environment.   The desorbed species is analyzed by mass spectrometry or gas chromatography or volume or pressure measurement.  The important reasons of TPD method in the study of catalysis are:

- Investigation of surface structures is important for optimum design of catalysts.

(2) Interaction of reactants with the catalyst surface is an important    step in heterogeneous catalysis.                                                                                                                (3) Temperature at which species are desorbed from a surface is    indicative of the strength of the surface bond.                                                                                                                 (4)  Neither strong chemisorption nor very weak chemisorption is helpful.

How a TP experiment is carried out? Probe molecules are adsorbed at lower temperatures and their desorption/reaction with increased temperature is monitored to characterize surface properties of a catalyst and also properties of an adsorbent.  Alternately a carrier gas containing the desired species is used and the reaction is carried out by increasing the temperature.

There are three principal processes that are studied as a function of temperature: 1) Desorption, 2) Reduction and 3) Oxidation.

TPD-  Temperature Programmed Desorption

A solid material after cleansing its surface is exposed to adsorbate gas under well-defined conditions (at various pressures and temperatures) and then heated under inert conditions in a programmed way to desorb it.

TPR- Temperature Programmed Reduction OR Temperature Programmed Reaction

Surface of a solid is cleansed in oxidizing atmosphere and subsequently heated linearly in a programmed way under the flow of dilute stream of reducing gas (H2/CO in Ar). The rate of  reduction is monitored by following the change of its concentration  at the outlet. This experiment permits determination of total H2/CO consumed, thereby degree of reduction and average oxidation state can be calculated.  Developed by Cvetanovic and Amenomiya (Adv. Catal., 1967, 17,  103). The gas stream contains   desorbed molecules, monitored by TCD. The TCD signal is proportional to quantity of molecules desorbed while thermal energy required in terms of temperature is monitored by a thermocouple. Quantities desorbed under different Tmax provide information on the number, strength and heterogeneity of the adsorption sites.

Figure 1. TPD chromatogram of H2 desorbing from Pt supported on alumina

Experimental methodology:

Set up for TP experiments mainly consist of four components

- System for introduction of reactant/probe molecule:  Sampling valves, gases and gas mixtures, mass flow controllers.                                                                                                                                    2. A programmable furnace and reactor assembly: Furnace should be suitable for rapid heating and cooling, temp raise has be linear. It should have uniform heating zone. Reactor should be made of quartz preferably.                                                                                                                           3.   Detector and data acquisition system:  Mostly TCD detectors are employed, TCD with quadrupole mass spectrometer is a preferred option.  Micro GC also can help in distinguishing various components in the desorbed gas stream. TGA balance also can be used for monitoring weight changes during the heating of sample. Data system should be capable of fast sampling and display of evolved species with respect to time and temperature.

Figure: Experimental Set up for TPD/TPR/TPO

Temperature Programmed Reduction: MO (s) + H2 (g)  M (s)  + H2O

Starting temp is below reduction temperature. As the temperature is increased reduction takes place in steps. Each reduction peak corresponds

to a different oxide and the area under each peak is proportional to its concentration. Hence, one can obtain information on number of reducible species as well as their activation energies.

Figure: Temperature programmed reduction of Fe2O3 by hydrogen

The parameters that determine the position of the maximum rate and shape of the H2 consumption peaks are:

(i)  The heating rate  (oC/sec or K/sec),

(ii) Amount of reducible species no( mole),

(iii) Flow rate F (cc/sec) of reducing mix gas,

(iv) concentration co ( mole/cc) of H2 in the gas mixture.

Monti and Baiker defined a characteristic number K which relates the above parameters that facilitate selection of proper exp values.

K = no/(F x co)

For heating rates between 6-20 oC/min

K  between 55s to 140s is optimum for obtaining good profiles.

K < 55s,   the sensitivity is too low.

K> 140s, the amount of H2 consumed is too large.

For bringing heating rate  also into consideration, Malet and Caballero proposed a characteristic number P = (nox ) / (F x co)

Condition for optimum reduction profile in this case is that P  20 K

Oxygen is removed,

rearrangement takes place in the lattice of oxide sphere, after which reduction. progresses rapidly

Kinetics and mechanism of Reduction

(a) Bulk reducible compounds:

Bulk reducible compounds such as oxides can be interpreted in terms of either nucleation or contracting sphere model. It is nucleation controlled, if the rate of reduction is limited by the slow formation of first nuclei. After a critical amount of oxygen is removed, the lattice rearranges forming metal nuclei. Reaction interface will move into bulk oxide either by inward diff of H2 or by outward diff of oxygen ions.

In contracting sphere-model the rate of reduction is assumed to be proportional to the specific surface area So of the bulk reducible compound. Based on this an equation was derived that relate actual state of reduction

d/dT = (So x ko/)x(1-)2/3 exp(-E/RT)

Based on this, the shape of TPR profile will be different for nucleation and contracting sphere mechanisms.

(b) Supported reducible species:

If supported oxides are present as 3-dimensional islands, they reduce similar to bulk reduction. If they are homogeneously distributed, interaction will impact its reduction mechanism and kinetics.   Homogeneously dispersed species may reduce into metals or clusters, which may migrate and form small particles. These may contribute to spill over leading to auto-catalytic reduction.

(C)Solid solutions (metals in zeolites or oxide matrices)                                                Reducible species are homogeneously distributed. Reduction is similar to contracting sphere model initially. However, the reaction interface area ‘S’ of catalyst particle does not change during reduction process and is equal to spe. surface area. Hence, the reduction rate continuously decreases due to depletion of reducible species.

The energy equation for TPR is G = Go + RT (log PH2O/PH2)

Where G is free energy, PH2O/PH2 are partial pressures.

The above equation produces –ve results for a number of oxides. However, reduction proceeds even when Go is positive because PH2O is removed continuously.

Even when PH2O is low at elevated pressures, RT (log PH2O/PH2) may become sufficiently negative to cancel a positive G0.

Reduction of oxides differ when they are in bulk and when they are supported.

The interaction of the support with metal alters its reduction behaviour.  Higher the interaction, more difficult to reduce.

Fig The TPD traces as a function of Heating rate; B: H2 concentration; C:   Flow rate; D:  Content of reducible species.

The effect of the valence state of cation or loading on a support on the reduction trace is shown in Fig for the reduction of Cu2O, CuO and CuO-ZnO. The temperature region at which the reduction takes place appears to a finger print to identify the oxidation state and the role of the support.

Fig TPD trace for the reduction of Cu2O, CuO and ZnO-CuO.  Note the reduction temperature range and shape of the reduction trace.

Fig TPR traces of Vanadium Pentoxide dispersed on TiO2

Fig. Reduction TPR for ZnO-CuO at two different proportions of the material.

In addition, reduction strongly depends on dispersion and interaction with the support as revealed from the traces of V2O5 dispersed on and CuO-ZnO system as shown in Figs.  The traces show the importance of dispersion and interaction with the support.

In Fig. TPR traces of unsupported and supported Cu and Ni on silica are shown.   It is seen that the metal support interaction is dependent on the nature of the support used and on the nature of the metal loaded.

62 K

85 K

pre-adsorbed species is removed from the surface of
our

(B) unsupported and SiO2 supported Ni

heating (~1-10 K/s) in a well-pumped
UHV environment.
• Detection of the desorbing species by e.g. mass
Fig. TPR traces of unsupported and supported Cu and Ni on silica is removed from he

Fig.   TPR of 0.5% Pt/SiO2 (A) Impregnation of H2PtCl6 (B) Ion exchange with Pt(NH3)4(OH)2

Fig TPR profiles of pure Pt salts – The reduction behavior depends on the nature of salts.

Fig TPR profiles of supported catalysts A.3 wt% Cu/SiO2;  B. 5 wt% Ru/SiO2;  C. (3 wt% Cu + 5 wt% Ru)/SiO2

An additive may influence activation energy of reduction

In case of Pt-Re system, hydrated state facilitated mobility of Re2O7 thus giving single red peak.  If the sample is calcined at >773K, only single peak is obtained.

In normal case, it is difficult to reduce Sn. But, in case of Pt-Sn on alumina, Sn could be reduced.

Fig. A. Rh2O3/SiO2; B: V2O5/SiO2;  C: (RhVO4+V2O5)/SiO2

RhVO4 phase can be formed when RhCl3 and NH4VO3 precursors are impregnated on silica followed by calcination at 900 oC.

Since, no reduction was observed below 500 K, Rh2O3 must have reacted with VOx to form ternary oxide precursor RhVO4. This was proved with other techniques. As a result, well dispersed Rh was formed.

Fig. TPR profile of A. Pd/NaY (B) Pd/MgY

Mn+ + n/2 H2  →    Mo + nH+

Cations at different sites in a zeolite have different electrochemical potentials, hence reducibility differs. Cations in small pores are difficult to reduce as they are stabilized by high –ve charge density.

TPO-   Temperature Programmed Oxidation

- As the name suggests, a sample, which is in reduced state is

oxidized in dilute (2% O2 in He) oxygen stream while heating it

in a programmed way.

- It is mostly performed after TPR.

- Difficult to attain total oxidation as diffusion prevents oxidation of

bulk species.

- Oxygen consumption can be measured, which can be used for

finding surface oxidizable species. When carried out in succession  with TPR, it provides information on redox properties of the sample.

During calcination of Pd(NH3)42+-NaY

Nitrogen is evolved while oxygen is consumed which is monitored by QMS.

This technique is more useful to find surface oxidation and reduction properties of metal oxide-based catalysts.

- TPR is a useful technique to determine the reducibility of sample and to find the amount of H2 consumed.

- Using H2 consumed one can calculate mean oxidation state .

- Kinetic parameters can also be estimated and it can be determined whether the species is reduced in one step or in multi-steps.

- Active phase to support interactions can be followed and also the influence of pretreatment.

- Nature of precursor species, role of additives and influence of one phase on the reduction of other phases can be investigated.

- Red-ox behaviour of oxides can be investigated with cyclic TPR-TPO experiments.

- Determining the quantity and strength of the acid sites on

catalysts like silica-alumina, zeolites, mixed oxides is crucial

to understand and predict performance.

- For some of acid catalyzed reactions, the rate of reaction

linearly related to acid sites.

- There are three types of probe molecules for TPD: NH3, non-

reactive vapors and reactive vapors.

Advantages and disadvantages of NH3 as a probe

- Its molecular size facilitates penetration into all pores in a solid

- However, large molecules cannot access all the sites available,

hence it over estimates the quantity of acidity.

- It is highly basic, hence titrates even weak acid sites.

- Strongly polar adsorbed NH3 also capable of adsorbing additional

NH3 from gas phase

Large non-reactive amines such as pyridine and t-butyl amine are alternative to NH3.

They titrate only the strong and moderate acid sites.

Though pyridine chemisorption studies by IR spectroscopy is most appropriate, lack of extinction coefficient data complicates.

Most commonly used are propyl amines.

It reacts and decompose to propylene and ammonia over B-acid sites.

Shape Index

- The ratio of a/b corresponding to the HWFM

- (a/b) = 1 symmetric denotes Gaussian distribution

- (a/b) not equal to 1 indicates certain features of the reaction taking place in DTA

- Skewing is important

Significance of shape index

- Shape index = 1 what does it mean

- Homogeneous nature of the substance

- Uniform heat distribution

- Temperature uniformity

- Ideal situation

- Shape index not equal to 1

- Less than one fast process followed by slow process

- Greater than 1 denotes slow process followed by a slow process

Universality of Shape index

- Is this applicable for all thermal methods

- Or only for differential methods

- Or only programmed methods

- Or even to isothermal methods

Leading Edge

- Can the skew in the trace can be thought of the leading edge parameters

- Leading edge what is its significance

- Is there alternate significance for the shape index or leading edge

CHAPTER V

On the Quantitative analysis of Thermal Methods

INTRODUCTION

Thermal methods of analysis generally mean any measurement of physical property like weight change, heat change, coefficient of expansion, conductivity and so on as a function of temperature. The variation or otherwise of temperature can be ramped (poly thermal) or kept constant (isothermal).  In most of thermal methods normally employed the property is usually measured as function of increasing (decreasing) temperature. In Table 1 a selection of thermal analysis techniques, illustrating the scope of the field is given. In fact, any measuring process can be made into a thermal analysis technique by adding temperature control. Even conventional X-diffraction, or spectroscopic measurements (like IR, NMR) can also be included in thermal methods if temperature control is incorporated in addition. The basic theories of thermal analysis (equilibrium thermodynamics, irreversible thermodynamics and kinetics) are already well developed, but their application to thermal methods have not reached the fullest extent possible.

Table 1. A select list of Thermal analysis techniques.

| Technique | Measurement in addition to temperature |
| --- | --- |
| Thermometry Differential thermal analysis Calorimetry Dilatometry Thermomechanical analysis Electrate thermal analysis Electrical conductivity analysis Emanation thermal analysis Evolved-gas analysis Thermal conductivity analysis Thermal diffusivity analysis Thermoacoustimetry Thermofractography Thermoluminescence analysis Thermomagnetic analysis Thermooptical analysis Thermosonimetry Teperature programmed desorption (TPD) TPR, TPO, TPRS and other temperature programmed techniques (TPX) | Time temperature difference Heat length or volume Stress, strain, time electrical discharge current Electrical resistance Release of Radio-active material Pyrolysis with gas analysis Thermal conductivity Thermal diffusivity Sound effects thermal fractionation coupled with thin-layer chromatography Light emission Magnetic susceptibility Microscopy Sound effect Release and analysis of evolved species, Reduction, oxidation, reaction species |

CHAPTER VI

Kinetics of thermal desorption Traces

As stated in an earlier chapter, thermal desorption method is amenable for estimation of kinetic parameters.   The kinetic triplet normally considered in thermal methods includes the activation energy, frequency factor and the functional dependence of the conversion.    In these three parameters, the importance of activation energy and frequency factor need not be re‐emphasized.   Since heating rate β is related by the relation dT/dt between temperature and time, kinetic analysis seems to be feasible.   In addition, normally in thermal desorption measurements, the system is far from equilibrium and hence one can use only kinetic expressions for treating such measurements.   Normally in every temperature programmed measurement, β, the heating rate is constant and it is possible to obtain the temperature of desorption rate maximum Tmax (maximum rate of desorption).

Polanyi‐Wigner equation can be expressed as:

At the maximum of the desorption rate at Tmax

[drdes/dt]Tmax = 0

The condition must be satisfied since rmax = - [dθ/dt] = -β [dθ/dT]

However

And hence substituting this value of [dθ/dT] and solve for [ΔEdes/ RT2max] one gets

When the reaction order is taken as 1 (n=1) then Tmax is independent of the coverage but depends on the heating rate.

Therefore, one can write that

In this expression to make it dimensionless each parameter is divided by its won unit, for example (T᷉ = T/K)

Now if one were to plot [lnT2max/β] versus 1/Tmax for a series of heating rate β, then the slope of the straight-line plot one calculate the value of ΔEdes and      ν one can obtain from the intercept.

The   corresponding expression for a second order desorption process is

Since in a second order desorption process, the trace is symmetric with respect to Tmax and hence the θ at Tmax is half the value of the value of desorption.  Inserting that the total θ desorbed = 2.θ, the expression obtained is

Plotting left hand side versus 1/tmax as function of heating rate will provide means for calculating ΔEdes from the value of the slope and if θ0 is known, then the frequency factor ϑ2 can be calculated from the value of the intercept.

However, Redhead derived a simplified relation between ∆Edes versus 1/tmax. He made the assumption that the activation parameters are independent of surface coverage and the desorption followed first order kinetics.

He used the following equation

And solved ∆E and obtained a relation

The term [ln (∆Edes/RTmax) is small compared to the first term in [ϑ1Tmax/β] especially when 108 < (ϑ1/β) , 1013K-1.    Therefore one can extract the value of the activation energy ∆Edes from a single desorption trace at a particular heating rate β and observing Tmax and using the same to calculate ∆Edes.

Another simplified method has also been introduced by Habernshaden and Kuppers.   If one were to evaluate the leading edge of the desorption trace at the same value of θ then one can plot ln rdes versus 1/T according to the logarithmic form of Polanyi-Wigner equation

The slope of this Arrhenius type of plot the value of ∆Edes can be calculated. From the intercept of this plot the value of the frequency factor can be calculated if one knows the order of desorption kinetics and also the coverage where the leading edge has been measured.

Even though there is advantages since the assumptions made are limited, a general drawback of this procedure is that the leading edge has the signal to noise data plugged and hence the error involved may be greater when low coverages are considered for leading edge analysis.

There is yet another way of analyzing thermal desorption trace by using a plot of  versus 1/T for various value of n = 1, 2, or 3. Assuming the activation parameters are independent of temperature and coverage, then a straight line will be obtained if the correct value of n is used, since

The value of the activation energy ∆Edes and ϑn can be determined.

1.Michael Feist, Thermal analysis: basis, applications and benefit, Chemtexts, 1:8 (2015) DOI:10.1007/s40828-015-0008-y

As stated in an earlier chapter, thermal desorption method is amenable for estimation of kinetic parameters.   The kinetic triplet normally considered in thermal methods includes the activation energy, frequency factor and the functional dependence of the conversion.    In these three parameters, the importance of activation energy and frequency factor need not be re‐emphasized.   Since heating rate β is related by the relation dT/dt between temperature and time, kinetic analysis seems to be feasible.   In addition, normally in thermal desorption measurements, the system is far from equilibrium and hence one can use only kinetic expressions for treating such measurements.   Normally in every temperature programmed measurement, β, the heating rate is constant and it is possible to obtain the temperature of desorption rate maximum Tmax ( maximum rate of desorption).

Polanyi‐Wigner equation can be expressed as:

At the maximum of the desorption rate at Tmax

[drdes/dt]Tmax = 0

The condition must be satisfied since rmax = - [dθ/dt] = -β [dθ/dT]

However

And hence substituting this value of [dθ/dT] and solve for [ΔEdes/ RT2max] one gets

When the reaction order is taken as 1 (n=1) then Tmax is independent of the coverage but depends on the heating rate.

Therefore, one can write that

In this expression to make it dimensionless each parameter is divided by its won unit, for example (T᷉ = T/K)

Now if one were to plot [lnT2max/β] versus 1/Tmax for a series of heating rate β, then the slope of the straight-line plot one calculate the value of ΔEdes and      ν one can obtain from the intercept.

The   corresponding expression for a second order desorption process is

Since in a second order desorption process, the trace is symmetric with respect to Tmax and hence the θ at Tmax is half the value of the value of desorption.  Inserting that the total θ desorbed = 2.θ, the expression obtained is

Plotting left hand side versus 1/tmax as function of heating rate will provide means for calculating ΔEdes from the value of the slope and if θ0 is known, then the frequency factor ϑ2 can be calculated from the value of the intercept.

However, Redhead derived a simplified relation between ∆Edes versus 1/tmax. He made the assumption that the activation parameters are independent of surface coverage and the desorption followed first order kinetics.

He used the following equation

And solved ∆E and obtained a relation

The term [ln (∆Edes/RTmax) is small compared to the first term in [ϑ1Tmax/β] especially when 108 < (ϑ1/β) , 1013K-1.    Therefore one can extract the value of the activation energy ∆Edes from a single desorption trace at a particular heating rate β and observing Tmax and using the same to calculate ∆Edes.

Another simplified method has also been introduced by Habernshaden and Kuppers.   If one were to evaluate the leading edge of the desorption trace at the same value of θ then one can plot ln rdes versus 1/T according to the logarithmic form of Polanyi-Wigner equation

The slope of this Arrhenius type of plot the value of ∆Edes can be calculated. From the intercept of this plot the value of the frequency factor can be calculated if one knows the order of desorption kinetics and also the coverage where the leading edge has been measured.

Even though there is advantages since the assumptions made are limited, a general drawback of this procedure is that the leading edge has the signal to noise data plugged and hence the error involved may be greater when low coverages are considered for leading edge analysis.

There is yet another way of analyzing thermal desorption trace by using a plot of  versus 1/T for various value of n = 1, 2, or 3. Assuming the activation parameters are independent of temperature and coverage, then a straight line will be obtained if the correct value of n is used, since

The value of the activation energy ∆Edes and ϑn can be determined.

Appendix 1

NOMENCLATURE IN THERMAL ANALYSIS

The evolution of nomenclature in Thermal analysis has a long history. It started with for better thermal analysis in 1977 and has undergone various changes and the evolution is continuing due to changes that are taking place in instrumentation and also other theoretical development. In this appendix, an adopted version of nomenclature from the site http://www.ictac.org/ictacnews/articles/dec04/ICTAC%20Nomenclature.pdf is given. For any authentic version readers are referred to the ICTAC site http://www.ictac.org.

Thermal Analysis (TA) is a group of techniques either alone or in combination (multiple techniques) which can be used to study the properties of a system as a function of temperature. The variation in temperature can be related to time in the form of the heating rate β. The heating rate normally employed is linear by the relation T = T0 + βt, though other forms of heating schedule can also be followed like holding the temperature at a particular value (isothermal) or other functional dependence of heating rate. Conventionally the temperature is programmed and this can indicate an increase, or decrease in temperature, a periodic change, or a constant temperature or any combination of these.

Key words normally employed in the definition of Thermal Analysis:

- Techniques – a technique is characterized by the property that is being investigated. One such classification is given in Table I.2 in chapter 1. ·

- Relationship – this denotes that either sample property is monitored as a function of temperature (controlled-temperature program), or the temperature is measured as a function of the sample’s property like phase transformation or dehydration and so on (sample- controlled heating).

- Sample – denotes the system that is being investigated during the entire experiment (starting material, intermediates and final products) and the atmosphere in which the system is being investigated. The whole can be considered as equivalent to the thermodynamic system.

- Property – denotes any physical or chemical property of the sample.

In the following only the essential terminology and glossary are given. For a complete listing the reader is referred to the original documents referred. The system followed is the word or words the qualification and then what the word denotes are given in this sequence.

adiabatic, (adjective)- implies that the thermal analysis is carried out with no heat enters or leaves the system.

atmosphere(noun), - the gaseous environment of the sample during thermal analysis either effected or generated as result of thermal treatment.

calorimetry (noun) – method where in heat involved is measured.

combined, or hyphenated (adjective) – the combination of two or more techniques (this can include thermal and non-thermal techniques as well like TGA-FTIR).

controlled temperature program noun) – the temperature ramp imposed on the sample during the course of the thermal analysis.

cooling curve or heating curves(noun) - the experimental traces during cooling or heating. derivative (adjective) – pertaining to the first derivative (mathematical) of any trace with respect to temperature or time.

differential (adjective) – difference in measured quantities usually between a sample and a reference or standard material.

dynamic, Static(adjective)- a prefix to indicate the changes in the parameter.

gas flow (noun) - the passage of gas from one part of the system to another.

high pressure (HP, adjective) – a prefix applied to the technique name to indicate that the pressure of the experiment is above ambient.

isobaric, (adjective)- a prefix indicating experiment is carried out at constant pressure.

isothermal, (adjective), - a prefix indicating that the temperature is maintained constant throughout the experiment

micro-, (adjective)- a prefix used to denote that the technique measures small quantities, either with respect to the amount of sample studied, or with respect to the change in the properties measured.

modulated, (adjective)- a prefix indicating that a parameter changes in a periodic manner. modulated temperature, (MT, adjective), - a prefix indicate that a temperature modulation has been applied.

photo-, (adjective), - prefix to indicate that the experiment involves the illumination of the sample or measures the amount of light emitted from a sample. Where possible the wavelength range of the light should be specified.

sample-controlled, (adjective) – prefix o indicate that a property of the sample is used either continuously to control the sample heating. With no prefix, it is assumed that the experiment is following a controlled temperature program.

scanning, (adjective), – a prefix indicating a specified experimental parameter, usually temperature, is changed in a controlled manner.

stepwise, (adjective) – prefix indicating discrete, discontinuous changes in an experimental parameter like force, temperature etc.

tan δ, n – is the dimensionless ratio of energy lost to energy returned during one cycle of a periodic process. For example tan δ = E’’ / E’, in DMA.

thermal curve or more correctly thermo-analytical curve (noun) – any graph of any combination of property, time, temperature derived from a thermal analysis technique.

thermo-, (adjective)- a prefix indicating the use of changing temperature during the experiment.

Reporting Experimental Conditions

The details of how a technique is used, additional experimental parameters and constraints employed must be reported alongside the data in all published work. It is important to separate the technique (instrumentation) from the way in which it is used (experiment). Of course, the make and model number should be included in all reports, papers and studies as well as an experimental section that describes in full all experimental parameters. The reader is referred to the ICTA publication “Reporting Experimental Results” (Lombardi 1977) for specific guidelines.

It should be normal practice to use the standard IUPAC quantities, units and symbols when reporting any work in thermal analysis. These are listed in I.Mills, T. Cvitaš et.al., Quantities, Units and Symbols in Physical Chemistry.

Symbols describing specific events or materials in thermal analysis

In general, symbols should be in italic type, or, if vectors, in bold italic type. Units do not take plural. Subscripts should be restricted to single letters. If the subscript relates to an object or property, it should be a CAPITAL letter.

“mS” = mass of the sample

TR = temperature of reference

TC = Curie Temperature

If the subscript refers to a phenomenon, it should be lower case:

Tm = melting temperature

Tg = glass transition temperature.

If the subscript refers to a specific event, time or point, it should be lower case or figures:

Ti= initial temperature

mf = final mass

Tp = peak temperature

t0.5  = time of half reaction

Changes in extensive thermodynamic quantities X due to an event y should be represented by ΔyX :

ΔvapH = enthalpy of vaporization

ΔrG = Gibbs free energy of reaction.

Symbols for the physical state of the material should be put in brackets after the formula

symbol: ΔvapH = H(g) - H(l)

Appendix 2

Table 1 - Calibration standards useful in DTA measurements

| Calibrant | Transition Temperature (K) | Heat of Reaction (J/g) |
| --- | --- | --- |
| KNO3 | 400.7 | 54.06 |
| In | 430 | 28.41 |
| Sn | 504.9 | 59.66 |
| SiO2 | 846 | 10.25 |
| K2SO4 | 856 | 46.61 |
| K2CrO4 | 938 | 52.63 |
| BaCO3 | 1083 |  |
| SrCO3 | 1198 |  |

Table 2 - Enthalpy calibration standard materials

| Element or compound | Melting point 0C | Enthalpy of fusion Jg-1 |
| --- | --- | --- |
| Naphthalene | 80.3 | -149.0 |
| Benzoic acid | 122.4 | -148.0 |
| Indium | 156.6 | -28.5 |
| Tin | 231.9 | -60.7 |
| Lead | 327.5 | -22.6 |
| Zinc | 419.5 | -113.0 |
| Aluminum | 660.2 | -396.0 |
| Silver | 961.8 | 105.0 |
| Gold | 1093 | 62.8 |
| Bismuth | 271.4 | -53.1 |
| Unalloyed steel | 1147-1536 | - |
| Nickel | 1455 | -290.4 |
| Palladium | 1554.8 | -157.3 |
| Al-Si | 577-880 | - |

Table 3  Typical thermocouples employed

| Type | Composition | Temperature K |  |  | Output voltage mV (00C) |
| --- | --- | --- | --- | --- | --- |
|  |  | Tmin | Tmax |  |  |
| T | Cu/CONSTANTAN | 3 | 670 |  | 20 |
| J | Fe/Constantan | 7 |  | 870 | 34 |
| E | Chromel/Constantan | - |  | 970 | 45 |
| K | Chromel/alumel | 220 |  | 1270 | 41 |
| S | Pt/PtRh(10) | 270 |  | 1570 | 13 |
| R | Pt/PtRh(13) | 220 |  | 1570 | 12 |
| C | W/WRe(26) | - |  | 2670 | 39 |
| N | Nicrosil/Nisil |  |  | 1200 | 39 |

Constantan: 58%Cu 42%Ni

Chromel:  89% Ni,10%Cr,1%Fe

Alumel: 94%Ni,2%Al,1.5%Si,2.5% Mn

Nicrosil/Nisil: Ni,Cr,Si/Ni,Si

Table 4.	Data on Thermal Conductivity

| Gas | Λ X 10-3 [W/(cm.K)] |
| --- | --- |
| Air | 0.277 |
| Ammonia | 0.270 |
| Argon | 0.190 |
| Carbon dioxide | 0.183 |
| Carbon monoxide | 0.267 |
| Helium | 1.574 |
| Hydrogen | 1.972 |
| Methane | 0.374 |
| Nitrogen | 0.275 |
| Oxygen | 0.285 |
| water | 0.195 |